## cases
Components Capacities
Location | NPP (MWe) | HTSE (MWe) | HTSE (ton-H2/h) | FT (ton-H2/h) | H2 storage (ton-H2) | Storage/HTSE(day) ratio | Baseline NPV | Std baseline NPV | Std baseline NPV frac | Opt NPV | Std opt NPV | Std opt NPV frac | Delta NPV | Std delta NPV (%) | Std Delta NPV | Delta NPV (M$) | Std Delta NPV (M$) | Standardized added value (M$/MWh)
BRAIDWOOD | 1193 | -1178 | 29.598 | 29.6031 | 0.01 | 0.001408% | 2102483898.88 | 10442175 | 0.0049666 | 3408381162.01 | 1225.8058 | 3.5964e-07 | 1305897263.13 | 0.49666 | 10442175.0719 | 1305897263.13 | 10442175.0719 | 1094633.0789
COOPER | 769 | -754 | 18.9447 | 18.948 | 0.01 | 0.002199% | 1058570571.16 | 29664093.2986 | 0.028023 | 1941425295.6 | 6952.2879 | 3.581e-06 | 882854724.44 | 2.8023 | 29664094.1133 | 882854724.44 | 29664094.1133 | 1148055.5584
DAVIS-BESSE | 894 | -879 | 22.0854 | 22.089 | 0.01 | 0.001887% | 1765764570.6 | 0 | 0 | 2357253019.63 | 1077.4639 | 4.5708e-07 | 591488449.03 | 4.5708e-05 | 1077.4639 | 591488449.03 | 1077.4639 | 661620.1891
PRAIRIE-ISLAND | 522 | -507 | 12.7387 | 12.741 | 35 | 11.45% | 262400619.102 | 553965.5243 | 0.0021111 | 1177078719.72 | 45333.1748 | 3.8513e-05 | 914678100.618 | 0.21115 | 555817.325 | 914678100.618 | 555817.325 | 1752256.8977
STP | 1280 | -1265 | 31.7839 | 31.789 | 2000 | 262.2% | 2742484812.48 | 83894741.8734 | 0.030591 | 2880661882.02 | 18447721.6961 | 0.006404 | 138177069.54 | 3.1254 | 85899046.2682 | 138177069.54 | 85899046.2682 | 107950.8356
HTSE
Inputs
Electricity | 39.8 |  | kWh/kg-H2
Outputs
H2 | 0.025126 |  | kg-H2/kWh
| 25.1256 |  | kg-H2/MWh
| 0.025126 |  | ton-h2/MWh

## data
Case | # | npp_capacity | htse_capacity | ft_capacity | ft_elec_consumption_capacity | electricity_market_capacity | naphtha_market_capacity | jet_fuel_market_capacity | diesel_market_capacity | h2_storage_capacity | scenario_label | location_label | fuel_region_label | elec_data_label | mean_NPV | std_NPV | med_NPV | max_NPV | min_NPV | perc_5_NPV | perc_95_NPV | samp_NPV | var_NPV | prefix | ProbabilityWeight-ft_capacity | ProbabilityWeight | ProbabilityWeight-h2_storage_capacity | ProbabilityWeight-htse_capacity | PointProbability
braidwood | 3 | 1193 | -1178 | -29603.14 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 10 | ref | braidwood | illinois | covid | 3408381162.01 | 1225.8058 | 3408381275.74 | 3408382533.24 | 3408379563.34 | 3408379797.47 | 3408382367.34 | 4 | 1502599.8205 | 1 | 0.24494 | 0.0019309 | 0.024976 | 0.31563 | 3.7622e-13
cooper | 0 | 769 | -754 | -18948 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 10 | ref | cooper | nebraska | covid | 1941425295.6 | 6952.2879 | 1941428170.23 | 1941429832.72 | 1941415009.23 | 1941416830.37 | 1941429736.36 | 4 | 48334306.5802 | 0.26385 | 0.021612 | 0.30265 | 1.2277e-12 | 1 | 0.27064
davis-besse | 2 | 894 | -879 | -22089 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 10 | ref | davis_besse | ohio | covid | 2357253019.63 | 1077.4639 | 2357252830.38 | 2357254371.65 | 2357252046.09 | 2357252079.19 | 2357254225.01 | 4 | 1160928.5176 | 0.021253 | 0.30877 | 1 | 7.2869e-13 | 0.27535 | 0.24997
prairie-island | 0 | 522 | -507 | -12741 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 35000 | ref | prairie_island | minnesota | covid | 1177078719.72 | 45333.1748 | 1177087754.28 | 1177118966.7 | 1177020403.63 | 1177027183.37 | 1177117607.7 | 4 | 2055096737.17 | 0.052021 | 0.5 | 4 | 0.31572 | 3.4322e-12 | 0.32954
stp | 0 | 1280 | -1265 | -31789 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 2000000 | ref | south_texas_project | west_south_central | covid | 2880661882.02 | 18447721.6961 | 2882183403.02 | 2919873833.91 | 2851246232.99 | 2856011739.05 | 2905799143.78 | 10 | 340318435777000 | 10 | 0.28674 | 0.26395 | 0.018921 | 1.466e-14 | 0.25

## braidwood_SA
Case | Mean NPV | Std NPV | Std NPv (%) | Delta NPV | Std delta NPV | Std delta NPV (%)
BAU | 2102483898.88 | 10442175.4814 | 0.4967% | 0 | 14767466.1865 | #DIV/0!
Reference | 3408381162.01 | 1225.8058 | 3.596e-05% | 1305897263.13 | 10442175.5533 | 0.7996%
synfuel 0.75 | 3074633986.14 | 512.3894 | 1.667e-05% | 972150087.26 | 10442175.494 | 1.074%
synfuel 1.25 | 3742127992.46 | 327.8472 | 8.761e-06% | 1639644093.58 | 10442175.4865 | 0.6369%
capex 0.75 | 3638289546 | 1495.1113 | 4.109e-05% | 1535805647.12 | 10442175.5884 | 0.6799%
capex 1.25 | 3178472614 | 707.389 | 2.226e-05% | 1075988715.12 | 10442175.5054 | 0.9705%
co2 cost med | 2997736770.03 | 667.6204 | 2.227e-05% | 895252871.15 | 10442175.5027 | 1.166%
co2 cost high | 2587091316 | 1407.3527 | 5.44e-05% | 484607417.12 | 10442175.5762 | 2.155%
o&m 0.75 | 3591087201 | 476.1884 | 1.326e-05% | 1488603302.12 | 10442175.4923 | 0.7015%
o&m1.25 | 3225673919.41 | 1255.4482 | 3.892e-05% | 1123190020.53 | 10442175.5569 | 0.9297%
Delta NPV | Low | High | Std low | Std high
Synfuel Price | 972150087.26 | 1639644093.58 | 10442175.494 | 10442175.4865
CAPEX | 1535805647.12 | 1075988715.12 | 10442175.5884 | 10442175.5054
CO2 Cost | 895252871.15 | 484607417.12 | 10442175.5027 | 10442175.5762
O&M | 1488603302.12 | 1123190020.53 | 10442175.4923 | 10442175.5569