## cases
Components Capacities
Location | NPP (MWe) | HTSE (MWe) | HTSE (ton-H2/h) | FT (ton-H2/h) | H2 storage (ton-H2) | Storage/HTSE(day) ratio | Baseline NPV | Std baseline NPV | Opt NPV | Std opt NPV | Delta NPV | Std Delta NPV | Delta NPV (M$) | 2Std Delta NPV (M$) | Standardized added value (M$/MWh)
BRAIDWOOD | 1193 | -1178 | 29.598 | 29.6031 | 0.01 | 0.001408% | 2102483898.88 | 10442175 | 3408381162.01 | 1225.8058 | 1305897263.13 | 10442175.0719 | 1305897263.13 | 20884350.1439 | 1094633.0789
COOPER | 769 | -754 | 18.9447 | 18.948 | 0.01 | 0.002199% | 1058570571.16 | 29664093.2986 | 1941425295.6 | 6952.2879 | 882854724.44 | 29664094.1133 | 882854724.44 | 59328188.2266 | 1148055.5584
DAVIS-BESSE | 894 | -879 | 22.0854 | 22.089 | 0.01 | 0.001887% | 1765764570.6 | 0 | 2357253019.63 | 1077.4639 | 591488449.03 | 1077.4639 | 591488449.03 | 2154.9279 | 661620.1891
PRAIRIE-ISLAND | 522 | -507 | 12.7387 | 12.741 | 35 | 11.45% | 262400619.102 | 553965.5243 | 1177078719.72 | 45333.1748 | 914678100.618 | 555817.325 | 914678100.618 | 1111634.6501 | 1752256.8977
STP | 1280 | -1265 | 31.7839 | 31.789 | 2000 | 262.2% | 2742484812.48 | 83894741.8734 | 2880661882.02 | 18447721.6961 | 138177069.54 | 85899046.2682 | 138177069.54 | 171798092.5363 | 107950.8356
HTSE
Inputs
Electricity | 39.8 |  | kWh/kg-H2
Outputs
H2 | 0.025126 |  | kg-H2/kWh
| 25.1256 |  | kg-H2/MWh
| 0.025126 |  | ton-h2/MWh

## cashflow_comparison
Location | Capacity (MWe) | npv | htseCAPEX | htseFOM | htseVOM | htseELEC_CAP_MARKET | htse_amortize_htseCAPEX | htse_depreciate_htseCAPEX | ftCAPEX | ftFOM | ftVOM | co2_shipping | h2_ptc | ft_amortize_ftCAPEX | ft_depreciate_ftCAPEX | ftELEC_CAP_MARKET | e_sales | naphtha_sales | diesel_sales | jet_fuel_sales | storageCAPEX | $ h2 ptc/MWe | $ co2/MWe | Baseline NPV
Braidwood | 1193 | 3408382538 | -762820800.5 | -304078614.8 | -195937714.9 | -280143957.2 | 347771988.8 | -244831480.1 | -300272454.3 | -185018648.3 | -45790755.24 | -772932308.8 | 4780292061 | 136894993.6 | -96374075.49 | -3543416.8 | 181380.539 | 289357020 | 332766856 | 712866785 | -5000 | 4006951 | -647890 | 2102483898.88
Cooper | 769 | 1941429190 | -508716454.5 | -194630964 | -129742120.4 | -179311157.7 | 231925155.9 | -168911091 | -227097690.4 | -185018648.3 | -47371316.81 | -663652627 | 3059708328 | 103534428.2 | -75404124.09 | -3543416.8 | 147030.87 | 175167313 | 266844868 | 487506059 | -5000 | 3978814 | -863007 | 1058570571.16
Davis-Besse | 894 | 2357254371 | -584742286.5 | -226897370.5 | -164063092.5 | -209037808.5 | 266585530.7 | -210602569.2 | -249984024 | -185018648.3 | -51384512.27 | -890215763.1 | 3566914569 | 113968367.3 | -90035010.17 | -3543416.8 | 230544.659 | 343875625 | 323507772 | 607700986 | -5000 | 3989837 | -995767 | 1765764570.6
Prairie-Island | 522 | 1177020404 | -354788741.7 | -130872544.8 | -84433712.77 | -120571295.7 | 161749110.9 | -115262416.5 | -177139512.4 | -185018648.3 | -46350130.94 | -473249011.9 | 2057406787 | 80758364.82 | -57548410.78 | -3543416.8 | 4620752.27 | 168074451 | 172007347 | 296388471 | -17500000 | 3941392 | -906607 | 262400619.102
STP | 1280 | 2801411840 | -813805836.5 | -326536033.8 | -224365285.5 | -300833706.2 | 371016199.4 | -293102797.6 | -313966536.7 | -185018648.3 | -51384512.27 | -2013144975 | 5133263037 | 143138161.4 | -113079147.5 | -3543416.8 | 234983554 | 300752336 | 522506051 | 915385485 | -200000000 | 4010362 | -1572770 | 2742484812.48
Location | HTSE CAPEX | HTSE OM | Cap Market | FT CAPEX | FT OM | CO2 | H2 PTC | Electricity sales | Naphta | Diesel | Jet fuel | Storage CAPEX | $ h2 ptc/MWe | $ co2/MWe | $ capex /MWe | $ baseline/MWe
Braidwood | -659880292 | -500016330 | -283687374 | -259751536 | -230809403 | -772932309 | 4780292061 | 181381 | 289357020 | 332766856 | 712866785 | -5000 | 4006950.6 | -647889.61 | -770860.71 | 1762350.2924
Cooper | -445702390 | -324373084 | -182854574 | -198967386 | -232389965 | -663652627 | 3059708328 | 147031 | 175167313 | 266844868 | 487506059 | -5000 | 3978814.47 | -863007.32 | -838328.71 | 1376554.7089
Davis-Besse | -528759325 | -390960463 | -212581225 | -226050667 | -236403161 | -890215763 | 3566914569 | 230545 | 343875625 | 323507772 | 607700986 | -5000 | 3989837.33 | -995767.07 | -844312.07 | 1975128.155
Prairie-Island | -308302047 | -215306258 | -124114712 | -153929558 | -231368779 | -473249012 | 2057406787 | 4620752 | 168074451 | 172007347 | 296388471 | -17500000 | 3941392.31 | -906607.3 | -919026.06 | 502683.1784
STP | -735892435 | -550901319 | -304377123 | -283907523 | -236403161 | -2013144975 | 5133263037 | 234983554 | 300752336 | 522506051 | 915385485 | -200000000 | 4010361.75 | -1572769.51 | -952968.72 | 2142566.2598

## data
Case | # | npp_capacity | htse_capacity | ft_capacity | ft_elec_consumption_capacity | electricity_market_capacity | naphtha_market_capacity | jet_fuel_market_capacity | diesel_market_capacity | h2_storage_capacity | scenario_label | location_label | fuel_region_label | elec_data_label | mean_NPV | std_NPV | med_NPV | max_NPV | min_NPV | perc_5_NPV | perc_95_NPV | samp_NPV | var_NPV | prefix | ProbabilityWeight-ft_capacity | ProbabilityWeight | ProbabilityWeight-h2_storage_capacity | ProbabilityWeight-htse_capacity | PointProbability
braidwood | 3 | 1193 | -1178 | -29603.14 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 10 | ref | braidwood | illinois | covid | 3408381162.01 | 1225.8058 | 3408381275.74 | 3408382533.24 | 3408379563.34 | 3408379797.47 | 3408382367.34 | 4 | 1502599.8205 | 1 | 0.24494 | 0.0019309 | 0.024976 | 0.31563 | 3.7622e-13
cooper | 0 | 769 | -754 | -18948 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 10 | ref | cooper | nebraska | covid | 1941425295.6 | 6952.2879 | 1941428170.23 | 1941429832.72 | 1941415009.23 | 1941416830.37 | 1941429736.36 | 4 | 48334306.5802 | 0.26385 | 0.021612 | 0.30265 | 1.2277e-12 | 1 | 0.27064
davis-besse | 2 | 894 | -879 | -22089 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 10 | ref | davis_besse | ohio | covid | 2357253019.63 | 1077.4639 | 2357252830.38 | 2357254371.65 | 2357252046.09 | 2357252079.19 | 2357254225.01 | 4 | 1160928.5176 | 0.021253 | 0.30877 | 1 | 7.2869e-13 | 0.27535 | 0.24997
prairie-island | 0 | 522 | -507 | -12741 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 35000 | ref | prairie_island | minnesota | covid | 1177078719.72 | 45333.1748 | 1177087754.28 | 1177118966.7 | 1177020403.63 | 1177027183.37 | 1177117607.7 | 4 | 2055096737.17 | 0.052021 | 0.5 | 4 | 0.31572 | 3.4322e-12 | 0.32954
stp | 0 | 1280 | -1265 | -31789 | -14.9 | -1e+200 | -1e+200 | -1e+200 | -1e+200 | 2000000 | ref | south_texas_project | west_south_central | covid | 2880661882.02 | 18447721.6961 | 2882183403.02 | 2919873833.91 | 2851246232.99 | 2856011739.05 | 2905799143.78 | 10 | 340318435777000 | 10 | 0.28674 | 0.26395 | 0.018921 | 1.466e-14 | 0.25

## braidwood_SA
Case | Mean NPV | Std NPV | Std NPv (%) | Delta NPV | Std delta NPV | Std delta NPV (%) | Delta NPV | Low | High | Std low | Std high
BAU | 2102483898.88 | 10442175.4814 | 0.4967% | 0 | 14767466.1865 | #DIV/0! | Synfuel Price | 972148741.12 | 1639645614.76 | 10442175.5043 | 10442175.5709
Reference | 3408381162.01 | 1225.8058 | 3.596e-05% | 1305897263.13 | 10442175.5533 | 0.7996% | CAPEX | 1535805611.82 | 1075987720.12 | 10442175.5353 | 10442175.5577
synfuel 0.75 | 3074632640 | 691.5402 | 2.249e-05% | 972148741.12 | 10442175.5043 | 1.074% | CO2 Cost | 895251155.12 | 484608226.84 | 10442175.4926 | 10442175.5055
synfuel 1.25 | 3742129513.64 | 1367.424 | 3.654e-05% | 1639645614.76 | 10442175.5709 | 0.6369% | O&M | 1488604013.21 | 1123191151.12 | 10442175.5367 | 10442175.5757
capex 0.75 | 3638289510.7 | 1060.7914 | 2.916e-05% | 1535805611.82 | 10442175.5353 | 0.6799% | H2 PTC | -961918169.88 | 827867987.12 | 14134206.0296 | 10442175.528
capex 1.25 | 3178471619 | 1262.402 | 3.972e-05% | 1075987720.12 | 10442175.5577 | 0.9705%
co2 cost med | 2997735054 | 482.7702 | 1.61e-05% | 895251155.12 | 10442175.4926 | 1.166%
co2 cost high | 2587092125.72 | 709.3026 | 2.742e-05% | 484608226.84 | 10442175.5055 | 2.155%
o&m 0.75 | 3591087912.09 | 1074.5876 | 2.992e-05% | 1488604013.21 | 10442175.5367 | 0.7015%
o&m1.25 | 3225675050 | 1403.5569 | 4.351e-05% | 1123191151.12 | 10442175.5757 | 0.9297%
ptc100 | 1140565729 | 9525584.04 | 0.8352% | -961918169.88 | 14134206.0296 | -1.469%
ptc270 | 2930351886 | 986.6262 | 3.367e-05% | 827867987.12 | 10442175.528 | 1.261%
elec0.75 | 3408336785.72 | 1283.9271 | 3.767e-05% | 1305852886.84 | 10442175.5603 | 0.7996%
elec1.25 | 3408425168 | 637.6726 | 1.871e-05% | 1305941269.12 | 10442175.5009 | 0.7996%
Delta NPV | Low | High | Std low | Std high
H2 PTC | -961918169.88 | 827867987.12 | 14134206.0296 | 10442175.528
CO2 Cost | 895251155.12 | 484608226.84 | 10442175.4926 | 10442175.5055
Synfuel Price | 972148741.12 | 1639645614.76 | 10442175.5043 | 10442175.5709
CAPEX | 1535805611.82 | 1075987720.12 | 10442175.5353 | 10442175.5577
O&M | 1488604013.21 | 1123191151.12 | 10442175.5367 | 10442175.5757
Elec. Price | 1305852886.84 | 1305941269.12 | 10442175.5603 | 10442175.5009

## braidwood_h2ptc
Case | Mean NPV | Std NPV
BAU | 2102483898.88 | 10442175.4814
Case | Mean NPV | Std NPV | Delta NPV | STD Delta NPV | PTC value
$3/kg (ref) | 3408381162.01 | 1225.8058 | 1305897263.13 | 10442175.5533 | 3
$0/kg | 610618098.4 | 7424999.514 | -1491865800.48 | 12812870.3485 | 0
$1/kg | 1140565729 | 9525584.04 | -961918169.88 | 14134206.0296 | 1
$2.7/kg | 2930351886 | 986.6262 | 827867987.12 | 10442175.528 | 2.7
PTC variation (%) | Delta NPV variation
-100% | -214.2%
-66.67% | -173.7%
-10% | -36.61%